## About
CpUDSC Cost per Unit Distributed Solar Capacity
Sources: | 2015 Price (DC)
Lawrence Berkeley National Laboratory
2016
Tracking the Sun IX
https://emp.lbl.gov/sites/all/files/tracking_the_sun_ix_report_0.pdf
Page 23, Figure 13
Future Trends
Black and Veatch
2012
Cost and Performance Data for Power Generation Technologies
http://bv.com/docs/reports-studies/nrel-cost-report.pdf
Page 38, Table 25, "Residential PV with a 4 kw (DC) install size"
Solar DC to AC Derate Value
Jens Schoene, EnerNex
2015
Production Levels of Utility-Scale and Residential-Scale PV Systems
http://brattle.com/system/publications/pdfs/000/005/188/original/Comparative_Generation_Costs_of_Utility-Scale_and_Residential-Scale_PV_in_Xcel_Energy_Colorado's_Service_Area.pdf?1436797265
This document is included as Appendix B of a report by Brattle Group. It is on Page 10 of the EnerNex report, which is Page 70 of the PDF

## 2015 Price
2015 Distributed Solar Cost ($/W DC)
4 | "Residential Installed Price"
Watts DC are lower than Watts AC, but AC is needed to either sell to the grid or to power devices in homes.
Therefore, we convert to the cost per Watt AC using a derate factor:
0.859 | DC to AC derate factor
2015 Distributed Solar Cost ($/W AC)
4.6566

## Future Trend
We use Black and Veatch's cost projections to estimate the rate of cost declines (improvement).
We do NOT use their costs directly, because in 2015, actual costs were lower than their projection.
Capital Cost Projections from Black & Veatch (2004 $/kW)
Residential PV with a 4 kW (DC) install size
2015 | 4340
2020 | 3750
2025 | 3460
2030 | 3290
2035 | 3190
2040 | 3090
2045 | 3010
2050 | 2930
Linearly Interpolated Capital Cost Projections (2004 $/kW) and Ratios
Year | Solar PV Cap Cost | Cost Relative to 2015
2015 | 4340 | 1
2016 | 4222 | 0.97281
2017 | 4104 | 0.94562
2018 | 3986 | 0.91843
2019 | 3868 | 0.89124
2020 | 3750 | 0.86406
2021 | 3692 | 0.85069
2022 | 3634 | 0.83733
2023 | 3576 | 0.82396
2024 | 3518 | 0.8106
2025 | 3460 | 0.79724
2026 | 3426 | 0.7894
2027 | 3392 | 0.78157
2028 | 3358 | 0.77373
2029 | 3324 | 0.7659
2030 | 3290 | 0.75806
2031 | 3270 | 0.75346
2032 | 3250 | 0.74885
2033 | 3230 | 0.74424
2034 | 3210 | 0.73963
2035 | 3190 | 0.73502
2036 | 3170 | 0.73041
2037 | 3150 | 0.72581
2038 | 3130 | 0.7212
2039 | 3110 | 0.71659
2040 | 3090 | 0.71198
2041 | 3074 | 0.70829
2042 | 3058 | 0.70461
2043 | 3042 | 0.70092
2044 | 3026 | 0.69724
2045 | 3010 | 0.69355
2046 | 2994 | 0.68986
2047 | 2978 | 0.68618
2048 | 2962 | 0.68249
2049 | 2946 | 0.6788
2050 | 2930 | 0.67512

## CpUDSC
Distributed Solar Cap Cost ($/MW)
2015 | 4656577.4156
2016 | 4529970.0112
2017 | 4403362.6068
2018 | 4276755.2024
2019 | 4150147.7981
2020 | 4023540.3937
2021 | 3961309.6356
2022 | 3899078.8775
2023 | 3836848.1194
2024 | 3774617.3613
2025 | 3712386.6032
2026 | 3675906.5037
2027 | 3639426.4041
2028 | 3602946.3045
2029 | 3566466.2049
2030 | 3529986.1054
2031 | 3508527.2233
2032 | 3487068.3412
2033 | 3465609.4591
2034 | 3444150.577
2035 | 3422691.6949
2036 | 3401232.8128
2037 | 3379773.9307
2038 | 3358315.0486
2039 | 3336856.1665
2040 | 3315397.2844
2041 | 3298230.1787
2042 | 3281063.073
2043 | 3263895.9673
2044 | 3246728.8617
2045 | 3229561.756
2046 | 3212394.6503
2047 | 3195227.5446
2048 | 3178060.4389
2049 | 3160893.3333
2050 | 3143726.2276